# Exchange Information Requirements — Aster Tower

Appointing party: Meridian Estates (fictional). Appointed party: Aster Studio. Project code ASTR26. This document states what information the appointing party requires at each exchange.

# 1. Model information requirements

Every door shall carry a fire rating.

All walls shall state whether the wall is external.

All walls shall state whether they are load-bearing.

Every window shall carry a thermal transmittance (U-value).

Every room shall carry a reference.

# 2. Exchange format

Models must be exchanged as IFC 4 Reference View at every milestone, named to the agreed container naming standard.

# 3. Milestones

Information exchanges follow the programme issued with this EIR: Concept Freeze, Stage 3 Coordination, Stage 4 Technical Design, Tender Issue, Construction Issue and Handover.