# Aster Studio — Naming Standard AST-STD-001

Issued 2021 by a former BIM coordinator. Never formally adopted. Applies to all Revit projects.

# 1. Files and information containers

Pattern: Project-Originator-Volume-Level-Type-Role-Number, separated by hyphens. Example: ASTR26-AST-ZZ-XX-M3-A-0001. Originator codes: AST, STR, MEP. Type codes: M3 (model), DR (drawing), SH (schedule), SP (specification). Role codes: A (architecture), I (interiors), S (structure), M (MEP).

# 2. Views and sheets

Views: DISCIPLINE_LEVEL_TYPE_DESCRIPTION, for example ARC_L03_PLAN_General Arrangement. Sheets: AST-ARC-ZZ-nn, for example AST-ARC-ZZ-01.

# 3. Families and types

Families: AST_[LOCATION]_[TYPE]_[VARIANT]. System family types: AST_[LOC]_[DISC]_[MATERIAL]_[SIZE] mm, for example AST_EXT_ARC_CMU_200 mm. Doors and windows: AST_[LOC]_[LEAF]_[MATERIAL]_[W x H] mm.

# 4. Worksets

ARC_Walls, ARC_Doors, INT_Finishes, STR_Frame, Shared Levels and Grids. No other worksets are permitted.